## Requirements
Number | Name | Description | Class
1 | Sensing | The weather station shall sense the local weather. | Statement
1.1 | Measure Air Temperature | The weather station shall measure the air temperature to within 0.5 °C. | Requirement
1.2 | Measure Wind | The weather station shall measure wind speed and wind direction quickly. | Requirement
1.3 | Measure Rainfall | The rainfall shall be measured accurately. | Requirement
2 | Data Handling | The weather station shall handle the weather data. | Statement
2.1 | Store Measurements | The weather station shall store the measurements of the last 30 days. | Requirement
2.2 | Transmit Reports | The weather station shall transmit the weather report to the server at intervals of 10 minutes. | Requirement
2.3 | Display Readings | The display should show readings and/or alerts if possible. | Requirement
3 | Power | The weather station shall run on solar power. | Statement
3.1 | Operate Without Sun | The weather station shall operate on solar power for 72 hours without sunlight. | Requirement
3.2 | Low Battery | The station must be robust when the battery is low. | Requirement